Patient’s Name: _____________							Consultant: _______________

Hospital No:                  Affix label _____	              			                             Ward: ____________________

DOB: ____________________

T34 SYRINGE DRIVER CHECKLIST

- Use a 20ml Braun Omnifix Luer lock syringe (select this when programming T34)

- Make syringe up to17mls as per trust policy, using compatible dilutive (usually sterile water)

- Calibrate medicine in driver before priming the giving set on new prescriptions

- Only up to 3 different medications, check compatibility, may need 2 syringe drivers

- Sub cut butterfly can remain in for 7 days, unless there are signs of inflammation

- Giving set to be changed every 3 days or when prescription changes

- Complete syringe driver checklist 4 hrly

- Keep out of direct sunlight, key pad locked and in lock box

- Return OOH syringe drivers 1-4 to Pembroke ASAP (in plastic wallet)

NB: When patients are bathed or showered, syringe drivers should ONLY be detached and re-attached by qualified nurses. If the line and syringe are not attached correctly, the medication will not be delivered according to prescription.

| Date | Time | Battery Life | Infusion Site Checked | Amount Remaining (mls) | Rate Setting | Lock On | Signature |
| --- | --- | --- | --- | --- | --- | --- | --- |

| Date | Time | Battery Life | Infusion Site Checked | Amount Remaining (mls) | Rate Setting | Lock On | Signature |
| --- | --- | --- | --- | --- | --- | --- | --- |