Patient’s Name: _____________							Consultant: _______________

Hospital No:                  Affix label _____	              			                             Ward: ____________________

DOB: ____________________					Syringe Driver Serial number: ______________

T34 SYRINGE DRIVER CHECKLIST

- Ensure syringe driver contains a 9v Duracell Battery. Check battery life before starting.

- Use a 20ml leur lock syringe, select and confirm the correct manufacturer/type when programming T34.

- Make syringe up to17mls as per trust policy, (T34 Syringe Driver: guidelines for setting up equipment) using compatible dilutive (normally sterile water)

- Calibrate medicine in driver before priming the giving set on new prescriptions.

- Only up to 3 different medications, check compatibility, may need 2 syringe drivers.

- Sub cut butterfly can remain in for 7 days unless there are signs of inflammation.

- Giving set to be changed every 3 days or when prescription changes.

- Complete syringe driver checklist 4 hrly

- Keep out of direct sunlight, keypad locked and in lock box.

- OOHS syringe drivers can be accessed by tele tracking.

NB: When patients are bathed or showered, syringe drivers should ONLY be detached and re-attached by qualified nurses. If the line and syringe are not attached correctly, the medication will not be delivered according to prescription.

| Date | Time | Battery Life | Infusion Site Checked | Amount Remaining (mls) | Rate Setting | Lock On | Signature |
| --- | --- | --- | --- | --- | --- | --- | --- |

| Date | Time | Battery Life | Infusion Site Checked | Amount Remaining (mls) | Rate Setting | Lock On | Signature |
| --- | --- | --- | --- | --- | --- | --- | --- |