Competency Title:

BiPhasic Positive Airway Pressure

Trainee

Name: -------------------------------------------------------------

Title: ---------------------------------------------------------------

Ward or department: -----------------------------------------

Clinical assessor

Name: -------------------------------------------------------------

Title: ---------------------------------------------------------------

Method of assessment: -------------------------------------

Supervision Record

Please detail your clinical supervision activity.

| Date | Activity | Suggested learning activities | Clinical assessors signature |
| --- | --- | --- | --- |

Skill criteria                                                                                                     Knowledge criteria

| No errors observed | 5 | Evaluation: articulates response, what, when how and why | 5 |
| --- | --- | --- | --- |
| Occasional errors, corrected by trainee | 4 | Synthesis: articulates the connections between the parts | 4 |
| Frequent errors, corrected by trainee | 3 | Analysis: able to examine how parts relate to the whole | 3 |
| Frequent errors, not corrected by trainee | 2 | Application: can relate facts to another situation | 2 |
| Trainee unable to proceed without instruction/prompting | 1 | Knowledge and understanding: provides examples and distinguishes differences between examples | 1 |

K= knowledge (minimum level indicated in box *)                 S= skill (minimum level 4)

| Observable criteria | Minimum level | Tick level of achievement | Assessment Outcome | Assessors Signature and Date |
| --- | --- | --- | --- | --- |
|  | * State required level i.e. S4, K5 | 1 | 2 | 3 | 4 | 5 | Pass ( | Fail ( |  |
| Anatomy and physiology |
| Describe the normal function of the respiratory system | K |  |  |  |  |  |  |  |  |
| Discuss the normal physiological mechanism of respiration | K |  |  |  |  |  |  |  |  |
| Demonstrate the ability to recognize the signs and symptoms of respiratory failure | K |  |  |  |  |  |  |  |  |
| Discuss the initial management of a patient in respiratory failure | K |  |  |  |  |  |  |  |  |
| Equipment functionality |  |  |  |  |  |  |  |  |  |
| Define the term BiPAP | K |  |  |  |  |  |  |  |  |
| Discuss the indications for ward BiPAP therapy | K |  |  |  |  |  |  |  |  |
| Discuss the physiological effects of IPAP | K |  |  |  |  |  |  |  |  |
| Discuss the physiological effects of EPAP | K |  |  |  |  |  |  |  |  |
| Observable criteria |  |  |  |  |  |  |  |  |  |
| Discuss the relative and absolute contraindications for using BiPAP therapy | K |  |  |  |  |  |  |  |  |
| Setting up the patient |  |  |  |  |  |  |  |  |  |
| Describe the components of the BiPAP circuit | K |  |  |  |  |  |  |  |  |
| Demonstrate the ability to fit and apply the face mask | S4 |  |  |  |  |  |  |  |  |
| Demonstrate the ability to re-commence a patient on the therapy | S4 |  |  |  |  |  |  |  |  |
| Troubleshooting and evaluating therapy |  |  |  |  |  |  |  |  |  |
| Discuss the management of an “air leak” | K |  |  |  |  |  |  |  |  |
| Discuss the role of the practitioner in evaluating the effectiveness of the therapy | K |  |  |  |  |  |  |  |  |
| Discuss the potential complications associated with BiPAP therapy | K |  |  |  |  |  |  |  |  |
| Discuss how the complications can be prevented or minimised | K |  |  |  |  |  |  |  |  |
| Discuss the actions to be taken in response to an alarm | K |  |  |  |  |  |  |  |  |
| Infection control |
| Describe the maintenance and equipment regime | K |  |  |  |  |  |  |  |  |
| Demonstrate how to change the filters | S4 |  |  |  |  |  |  |  |  |

Competency Statement

Practitioner’s signature and date:

I am competent in this procedure at this time and understand the standard statement, action and outcome. Having received appropriate training, I accept full responsibility for the maintenance my own competence and have discussed this role as part of my job description with the person to whom I am managerially accountable.

| Signature: | Date: |
| --- | --- |
| Printed name: | Date: |

Clinical Assessor’s signature and date:

I confirm that the above practitioner has achieved the required competency level and is now able to work autonomously in an unsupervised capacity.

| Signature: | Date: |
| --- | --- |
| Printed name: | Date: |
| Job role: |

Please place one copy of this record in your professional portfolio and give a second copy to your line manager

Assessors Guidelines

| Assessment Criteria | Required knowledge and/or skill |
| --- | --- |
| Anatomy and physiology |
| Describe the normal function of the respiratory system | The components of the respiratory system are the nasal cavity, the mouth, larynx, pharynx, trachea, bronchial tubes, lungs, and diaphragm. The respiratory system is responsible for the exchange of oxygen and carbon dioxide. It supplies oxygen to the blood and gets rid of carbon dioxide and other waste gases. It is also responsible for the production of sound. |
| Discuss the normal physiological mechanism of respiration | The respiratory center is located in medulla oblongata (in the brain). Increases in CO2 (decrease in pH) and decrease in O2 in the blood will trigger the respiratory center. Chemoreceptor’s in aorta and carotid arteries are also sensitive to the amount of blood oxygen. To take a breath in, the external intercostal muscles contract, moving the ribcage up and out. The diaphragm moves down at the same time, creating negative pressure within the thorax. The lungs are held to the thoracic wall by the pleural membranes, and so expand outwards as well. This creates negative pressure within the lungs, and so air rushes in through the upper and lower airways. Expiration is mainly due to the natural elasticity of the lungs, which tend to collapse if they are not held against the thoracic wall. This is the mechanism behind lung collapse if there is air in the pleural space (pneumothorax). The capillary and alveolar walls are very thin, allowing rapid exchange of gases by passive diffusion along concentration gradients. CO2 moves into the alveolus as the concentration is much lower in the alveolus than in the blood, and O2 moves out of the alveolus as the continuous flow of blood through the capillaries prevents saturation of the blood with O2 and allows maximal transfer across the membrane. |
| Demonstrate the ability to recognize the signs and symptoms of respiratory failure | Define type 1 respiratory failure versus type 2 respiratory failure. Confusion or decreased conscious level Accessory muscle use Paradoxical or absent chest wall movement Tachypnoea Tachycardia Sweaty/clammy Central cyanosis or vasodilation |
| Discuss the initial management of a patient in respiratory failure | Oxygen therapy Assess airway Reassurance Positioning Treat brochospasm Prompt medical assessment Arterial blood gas analysis Chest x-ray Assessment for invasive ventilation Medical treatment will depend upon condition i.e. steroids, antibiotics, chest drain etc |
| Equipment functionality |
| Define the term BiPAP | Bi-level Positive Airway Pressure BiPAP works by providing assistance during the inspiratory phase of respiration and preventing airway closure during the expiratory phase. |
| Discuss the indications for ward BiPAP therapy | For acute exacerbation of COPD In an acute exacerbation of COPD, the work of breathing is increased resulting in reduced alveolar ventilation, causing carbon dioxide (CO2) retention, a reduction in oxygen (O2) levels and respiratory acidosis. |
| Discuss the physiological effects of IPAP | During inspiration the patient breathes in a positive pressure, IPAP IPAP augments the patient’s tidal volume, minute ventilation and alveolar ventilation. An increase in minute and alveolar ventilation decreases carbon dioxide levels and reduces the use of accessory muscles. |
| Discuss the physiological effects of EPAP | During expiration a continuous positive pressure, known as positive end expiratory pressure (PEEP) is maintained within the airways. EPAP inflates the alveoli and keep them open thus increasing the available surface area for gaseous exchange. EPAP also increases the functional residual capacity of the lungs and decreases or prevents airway closure. Increasing the functional residual capacity of the lung can result in an increase in arterial oxygen (PaO2) levels |
| Discuss the absolute and relative contraindications for using BiPAP therapy | Impaired consciousness Inability to protect the airway Patients with copious respiratory secretions Patients unable to tolerate mask pH less than 7.25 Acute exacerbation of asthma Patients susceptible to gastric distension or recent upper gastrointestinal surgery Patient vomiting Patients with bullous disease or any disease that predisposes them to pneumothorax Haemodynamic instability Raised intracranial pressure, as raised intrathoracic pressure impedes venous return, Recent facial or upper airway surgery Facial abnormalities such as burns or trauma Fixed obstruction to the upper airway |
| Setting up the patient |
| Describe the components of the BiPAP circuit | See video |
| Demonstrate the ability to fit and apply the face mask | See video |
| Demonstrate the ability to re-commence a patient on the therapy | See video |
| Troubleshooting and evaluating therapy |
| Discuss the management of an “air leak” | Check mask size Reposition and alter straps Call CCOT |
| Discuss the role of the practitioner in evaluating the effectiveness of the therapy | Initial 1:1 nursing for 60 minutes Psychological reassurance Continuous monitoring of oxygen saturation Continuous ECG monitoring and frequent recording of the patient’s blood pressure Observation of respiratory rate and use of accessory muscles Chest wall assessment for patient synchronisation and delivery of pre-set pressure Assess neurological status Assessment of the abdomen for gastric distension Skin inspection for signs of pressure |
| Discuss the potential complications associated with BiPAP therapy | Hypotension Pressure damage Pneumothorax Aspiration of vomit Patient anxious |
| Discuss how the complications can be prevented or minimised | Appropriate use of the inclusion/exclusion criteria Mask correctly fitted Regular inspection of skin Psychological support |
| Discuss the actions to be taken in response to an alarm | Alarm type and reason for activation Patient assessment Indications for the removal of the mask |
| Infection control |
| Describe the maintenance and equipment regime | Frequency of tube change Frequency of filter change Discuss the specific measures that would be taken if a patient had MRSA, pulmonary TB and avian flu Process for technical checks |
| Demonstrate how to change the filters | See video |